Home Performance with Energy Star

Pre-Test with Answers

1.  Homes constructed today have a cost-effective opportunity for energy-efficiency improvement of about:

- 0% - 20%

- 20% - 40%

- 40% - 60%

- 60% - 80%

2.  The 2005 changes to the California Energy Code (Title 24) increased the modeled framing factor (the amount of solid wood in the exterior walls) by how much?

- 0%

- 15%

- 30%

- 60%  (from 15% to 25%)

3.  What is the largest category of heat loss in a “standard” California Title-24 house located in the Sacramento-San Joaquin valley?

- Air Infiltration

- Windows

- Slab Edge

- Walls

- Ducts

- Ceiling	s

4.  What is the smallest category of heat loss in a “standard” California Title-24 house located in the Sacramento-San Joaquin valley?

- Air Infiltration

- Windows

- Slab Edge

- Walls

- Ducts

- Ceilings

5.  Over the last 10 years the overall thermal performance of new residential envelopes has increased how much?

- 0%  (evidence indicates that thermal performance has decreased)

- 15%

- 30%

- 60%

(Over)

6.  Wood conducts heat how many times faster than fiberglass batt insulation:

- 2 times faster

- 4 times faster

- 20 times faster

- About the same

7.  Steel conducts heat how many times faster than fiberglass batt insulation:

- 20 times faster

- 40 times faster

- 200 times faster

- 1,200 times faster

8.  The 2005 changes to the California Energy Code (Title 24) reduced the modeled thermal performance of ceiling assemblies how much?

- 0%

- 15%

- 30%

- 50%

9.  The 2005 changes to the California Energy Code (Title 24) reduced the modeled thermal performance of wall assemblies how much?

- 0%

- 15%

- 30%

- 50%

10.  Installing solar electric systems costs about $9.00 per watt of capacity.  Each installed watt will generate about one kilowatt-hour of electricity a year.  Investing the same $9.00 in compact fluorescent light bulbs will save one kilowatt-hour in about what length of time?

- four hours

- four weeks

- four months

- four years

11.  Retrofitting a conventional storage type natural gas water heater with a tankless natural gas water heater has a simple payback of?

- 10 weeks

- 10 months

- 1 year

- 3 years

- 10 years

- 100 years  (eliminating standby losses by switching to a tankless water heater will save about 22% of the $15.00 per month that the average family spends on natural gas to heat water – $40.00/year.  Retrofit costs average $4,000.00 yielding a 100 year payback)